## CSV-All-Semi-Filtered-Sentences
ID | Class | Text
1_Finnish_EnergyEfficiency | Others | Decree of the Ministry of the Environment on the Energy Performance of New Buildings.
2_Finnish_EnergyEfficiency | Others | By decision of the Ministry of the Environment, the following is enacted by virtue of section 117g, subsection 4; section 131, subsection 2 and section 150f, subsection 4 of the Land Use and Building Act (132/1999), as amended by section 117g, subsection 4 of Act 1151/2016; section 131, subsection 2 of Act 41/2014; and section 150f, subsection 4 of Act 41/2014. | Others
3_Finnish_EnergyEfficiency | Others | Section 1 Scope of application. | Self-contained
4_Finnish_EnergyEfficiency | Others | This Decree applies to the design and construction of new buildings consisting of a roofed construction having walls, for which energy is used to condition the indoor climate. | May-be self-contained
5_Finnish_EnergyEfficiency | Others | The Decree applies to extensions of buildings the gross floor area of which is less than 50 m2 only where the building, including the extension, exceeds 50 m2.
6_Finnish_EnergyEfficiency | Others | Section 2 Definitions.
7_Finnish_EnergyEfficiency | Others | For the purposes of this Decree.
8_Finnish_EnergyEfficiency | Others | amount of heat required for ventilation heating means the amount of heat that is required to heat ventilation air flow from outdoor temperature to room temperature.
9_Finnish_EnergyEfficiency | Others | net heating energy demand for ventilation means the demand for heating energy consisting of the heating of air after heat recovery to supply air temperature and any heating of air before heat recovery.
10_Finnish_EnergyEfficiency | Others | annual efficiency of ventilation extract air heat recovery means the ratio of the amount of heat recovered and utilised with heat recovery equipment to the amount of heat required for ventilation heating in a year when there is no heat recovery.
11_Finnish_EnergyEfficiency | Others | specific fan power of ventilation system (kW/(m3/s)) means the total combined amount of electrical power taken from the power supply by all of the fans and any connected frequency converters and other power control equipment in a buildings entire ventilation system, divided by the exhaust air flow rate or outdoor air flow rate of the design operating time of the ventilation system, whichever of these is greater.
12_Finnish_EnergyEfficiency | Others | electrical energy consumption of ventilation system means the electricity consumption of fans and any auxiliary units.
13_Finnish_EnergyEfficiency | Others | air leakage rate q50 (m3/(h m2)) means the average hourly rate of leakage air flow of the building envelope at a pressure differential of 50 Pa per building envelope surface area calculated on the basis of the buildings total internal dimensions.
14_Finnish_EnergyEfficiency | Others | cooled cold space means a space where a temperature below 17 C in accordance with the intended use is maintained around the year with a cooling system and a possible heating system.
15_Finnish_EnergyEfficiency | Others | cooling system energy consumption means the energy consumption for cooling energy production and the electricity consumption of auxiliary units.
16_Finnish_EnergyEfficiency | Others | district heat means heat supplied to customer properties via a distribution network.
17_Finnish_EnergyEfficiency | Others | Directive 2015/1535/EU of the European Parliament and of the Council (32015L1535); OJ L 241, 17.9.2015, p. 1.
18_Finnish_EnergyEfficiency | Others | Directive 2012/27/EU of the European Parliament and of the Council (32012L0027); OJ L 315, 14.11.2012, p. 1.
19_Finnish_EnergyEfficiency | Others | Directive 2010/31/EU of the European Parliament and of the Council (32010L0031); OJ L 153, 18.6.2010, p. 13.
20_Finnish_EnergyEfficiency | Others | thermal bridge means a deterioration in the thermal transmittance coefficient of a small part of a building element for solidity or connection reasons.
21_Finnish_EnergyEfficiency | Others | net heated area Anet (m2) means the sum total of the heated floor plate areas calculated on the basis of the internal surfaces of the exterior walls at the perimeter of the floor plates.
22_Finnish_EnergyEfficiency | Others | unheated space means a space that is not intended for continuous occupancy during the heating season and that is not designed to be heated.
23_Finnish_EnergyEfficiency | Others | net heating energy demand means the total combined net demand for heating energy for a buildings spaces, ventilation and domestic hot water.
24_Finnish_EnergyEfficiency | Others | heating systems energy consumption means the energy consumption for the heating of spaces, ventilation and domestic hot water.
25_Finnish_EnergyEfficiency | Others | thermal transmittance coefficient means the density of heat flow that in the steady state penetrates a building element when the difference in temperature between the air spaces on the different sides of the building element is one unit of temperature, and the symbol of which is U and the unit of which is W/(m2K).
26_Finnish_EnergyEfficiency | Others | warm space means of space in a building the room temperature of which is 17 C or higher.
27_Finnish_EnergyEfficiency | Others | net heating energy demand for domestic hot water means the demand for heating energy consumed for the heating of domestic hot water from the temperature of cold water to the temperature of hot water.
28_Finnish_EnergyEfficiency | Others | mass timber building means a building the main construction material of the exterior walls of which is a mass timber structure with a mean structural thickness of at least 180 mm.
29_Finnish_EnergyEfficiency | Others | semiwarm space means a space not intended for continuous occupancy while merely wearing normal indoor clothing and the temperature of which during the heating season is on average at least 5 C but below 17 C. buildings calculated consumption of delivered energy means energy consumption based on the buildings standardised use that is calculated as being acquired for the building from an electricity distribution network, district heating network, district cooling network or as energy contained by a renewable or fossil fuel.
30_Finnish_EnergyEfficiency | Others | building envelope means the building elements that separate a warm, semiwarm, particularly warm or cooled cold space from the outdoor air, the ground or an unheated space.
31_Finnish_EnergyEfficiency | Others | buildings reference heat loss means the calculated heat loss of a buildings envelope, leakage air and ventilation calculated using reference values.
32_Finnish_EnergyEfficiency | Others | portable building means a movable building intended for temporary use.
33_Finnish_EnergyEfficiency | Others | design solution means a design plan for a building intended to be implemented.
34_Finnish_EnergyEfficiency | Others | renewable fuel means wood and woodbased and other biofuels, with the exception of peat.
35_Finnish_EnergyEfficiency | Others | demand-controlled ventilation means a system where air flows can be controlled in accordance with load or air quality according to occupancy situation.
36_Finnish_EnergyEfficiency | Others | energy sourced from environmental energy means heat or electrical energy generated from sunlight, wind, ground, air or water onsite or near a building using equipment belonging to the building.
37_Finnish_EnergyEfficiency | Others | Section 3 Minimum requirements for building energy performance.
38_Finnish_EnergyEfficiency | Others | A principal designer, special designer and building designer shall, in accordance with their respective duties, see to the design of a new building so that it, in accordance with its intended use: 1) is in compliance as regards its energy performance with either the calculated energy performance reference value (Evalue) or structural energy efficiency; 2) creates conditions for energy demand with low energy loss; 3) is energy efficient as regards its calculated room temperature in the summer, its energy consumption measurement, its heat and electrical energy demand and, where using a mechanical ventilation system, also as regards the specific fan power of its ventilation system.
39_Finnish_EnergyEfficiency | Others | The E-value calculated in accordance with the buildings intended use category shall not exceed the following limits.
40_Finnish_EnergyEfficiency | Others | In buildings of intended use category 6 the net heated area of which is a maximum of 1,000 m2, the limit for the E-value provided above in subsection 1 may be exceeded by 5 kWhE/(m2 In mass timber buildings, the limits for the Evalue provided above in subsections 1 and 2 may be exceeded in buildings of intended use category 1a by 20, in buildings of intended use categories 1bc by 15 and in other buildings of intended use categories 1d8 by 10.
41_Finnish_EnergyEfficiency | Others | In buildings of intended use category 1d, the limit for the E-value provided in subsections 1 and 3 may be exceeded by 5 kWhE/(m2 a) when the building is connected to a heating system where heat is conveyed via heat pipes external to the building from a shared heat exchanger or heat generation unit to three or more buildings.
42_Finnish_EnergyEfficiency | Others | The E-value for buildings of intended use category 9 shall be calculated.
43_Finnish_EnergyEfficiency | Others | Design values shall be used in the calculations.
44_Finnish_EnergyEfficiency | Others | Section 5 Building units falling under different intended use categories.
45_Finnish_EnergyEfficiency | Others | The limits for the E-value in accordance with each unit shall be applied to building units falling under different intended use categories.
46_Finnish_EnergyEfficiency | Others | If the net heated area of a building unit is less than 10 of the entire buildings net heated area or the net heated area of a building unit is less than 50 m2, the building unit may be classified as falling under the intended use category that is the largest in terms of its area.
47_Finnish_EnergyEfficiency | Others | The utilisation of energy sourced from environmental energy using equipment belonging to the building shall be calculated on a monthly basis or for shorter periods of time.
48_Finnish_EnergyEfficiency | Others | Section 7 Calculation of the E-value The E-value shall be calculated on the basis of the buildings calculated consumption of delivered energy itemised by energy carrier using the energy carrier factors with the following formula.
49_Finnish_EnergyEfficiency | Others | E is the energy performance reference value, kWhE/(m2 a).
50_Finnish_EnergyEfficiency | Others | Qkaukolmp is the annual consumption of district heat, kWh/a.
51_Finnish_EnergyEfficiency | Others | Qkaukojhdytys is the annual consumption of district cooling, kWh/a.
52_Finnish_EnergyEfficiency | Others | Qpolttoaina,i is the annual consumption of energy contained in fuel i, kWh/a.
53_Finnish_EnergyEfficiency | Others | Wshk is the annual consumption of electricity, taking into account any reductions of energy sourced from freely utilisable environmental energy using equipment belonging to the building to the extent where this has been used in the building to cover energy consumption based on standardised use taking place in the building, kWh/a.
54_Finnish_EnergyEfficiency | Others | fkaukolmp is the energy carrier factor for district heat.
55_Finnish_EnergyEfficiency | Others | fkaukojhdytys is the energy carrier factor for district cooling.
56_Finnish_EnergyEfficiency | Others | ffuel,i is the energy carrier factor for fuel i. felectricity is the energy carrier factor for electricity.
57_Finnish_EnergyEfficiency | Others | Anetto is the net heated area of the building, m.
179_Finnich_EnergyEfficiency | Others | The figures to be used as the energy carrier factors are the figures provided under the Land Use and Building Act.
58_Finnish_EnergyEfficiency | Others | Section 8 Calculation method requirements.
59_Finnish_EnergyEfficiency | Self-contained | Calculations shall take place using a calculation method taking at least the following factors into account: a) the thermal characteristics of building elements and their connections, the buildings airtightness, ventilation air flow; b) indoor air temperature; c) the demand for domestic hot water; d) ventilation heat recovery; e) the thermal loads from humans, lighting, electrical appliances, domestic hot water and sunlight; f) the heat and electrical energy demand of the space and ventilation heating system; g) the heat and electrical energy demand of the domestic hot water preparation system; h) the electrical energy demand of the ventilation system; i) the electrical energy demand of consumer equipment and lighting.
60_Finnish_EnergyEfficiency | Self-contained | The building's calculated consumption of delivered energy may be calculated using the monthly calculation method for buildings the indoor air temperature control of which does not require cooling or where cooling is only required for spaces the net heated area of which is less than 10 of the buildings net heated area or the net heated area of which is less than 50 m2.
61_Finnish_EnergyEfficiency | Others | If the building's indoor air temperature control requires cooling, the buildings calculated consumption of delivered energy shall be calculated using a calculation method that, in addition to the factors specified in subsection 1, also takes into account the cooling systems heat and electrical energy demand and the heat transfer calculations of which take into account the timedependent heat storage capacity of structures at time steps of one hour at the maximum (dynamic calculation method).
62_Finnish_EnergyEfficiency | Others | Section 9 Weather data.
63_Finnish_EnergyEfficiency | Others | The E-value shall be calculated in accordance with the weather data for climatic zone I of Annex 1.
64_Finnish_EnergyEfficiency | Others | Section 10 Outdoor air flows and room temperatures.
65_Finnish_EnergyEfficiency | Others | The E-value shall be calculated using the following occupancy period outdoor air flows and heating and cooling limit temperatures for room temperature.
66_Finnish_EnergyEfficiency | Others | Extract air flows shall be calculated using values corresponding to outdoor air flows.
67_Finnish_EnergyEfficiency | Self-contained | The outdoor air flow used in the calculations for buildings other than those in intended use categories 1 and 2 outside the occupancy period shall be at least 0.15 dm3/s per m2.
68_Finnish_EnergyEfficiency | Others | For buildings of intended use category 2 where residents have the opportunity to control supply and extract air flows in a manner whereby these can dwelling unit specifically be increased by at least 30 and decreased by at least 40 from the air flow rates of the design occupancy period, the outdoor air flow rate used for the building may be 0.4 dm3/s per m2.
69_Finnish_EnergyEfficiency | Others | Section 11 Standardised use of buildings.
70_Finnish_EnergyEfficiency | Others | The daily and weekly occupancy period of a building, the average usage rate of lighting and consumer equipment and the average human occupancy rate during the buildings occupancy period as well as the internal thermal loads per net heated area to be used in the calculation of the E-value are as follows.
71_Finnish_EnergyEfficiency | Others | The annual thermal load from lighting, consumer equipment and human occupancy Q (kWh/m2) shall be calculated using the formula.
72_Finnish_EnergyEfficiency | Others | k is the average usage rate of lighting and consumer equipment and the average human occupancy rate during the buildings period of occupancy.
73_Finnish_EnergyEfficiency | Others | P is the thermal load W/m2.
74_Finnish_EnergyEfficiency | Others | d is the number of hours of building occupancy per day h. w is the number of days of building occupancy per week d. The monthly thermal load from lighting, consumer equipment and humans shall be determined on the basis of the annual thermal load on the basis of the number of days in the month.
75_Finnish_EnergyEfficiency | Others | The operating time of the ventilation system shall be calculated by adding to the occupancy period in accordance with subsection 1 one hour before the start of the occupancy period and one hour after the end of the occupancy period.
76_Finnish_EnergyEfficiency | Others | Section 12 Standardised use of domestic hot water.
77_Finnish_EnergyEfficiency | Others | The following net heating energy demand figures for each intended use category per a buildings net heated area shall be used as the net heating energy demand for the standardised use of domestic hot water.
78_Finnish_EnergyEfficiency | Others | In category 1, the net heating energy demand for domestic hot water is, however, at most 4,200 kWh per year per dwelling unit.
79_Finnish_EnergyEfficiency | Others | Values that are 15 lower than the abovementioned values may be used in the calculation of the net heating energy demand for domestic hot water if the buildings domestic water network is equipped with a constant pressure valve or other corresponding pressure control technology.
80_Finnish_EnergyEfficiency | Others | When calculating the E-value for a building with multiple intended uses, the building shall be divided into calculation zones corresponding to the intended uses and occupancy periods.
81_Finnish_EnergyEfficiency | Others | Section 14 Special spaces and certain technical systems.
82_Finnish_EnergyEfficiency | Others | The calculation of the E-value for a restaurant, professional kitchen, canteen, caf, laboratory or other special space in a building shall, as regards such spaces, take place using initial data corresponding to the intended use of the building or building unit.
83_Finnish_EnergyEfficiency | Others | Section 15 Net heating energy demand.
84_Finnish_EnergyEfficiency | Self-contained | The net heating energy demand for a buildings spaces shall be calculated on the basis of conduction loss, leakage air heat loss and the heating of replacement air and supply air in the space to room temperature, less the impact of the sun and internal thermal loads.
85_Finnish_EnergyEfficiency | Self-contained | Any solar protection solutions in the building shall be taken into account in the calculation of solar energy gains for the building.
86_Finnish_EnergyEfficiency | Self-contained | The net heating energy demand for ventilation shall be calculated on the basis of the heating of air after heat recovery to supply air temperature and any heating before heat recovery.
87_Finnish_EnergyEfficiency | Others | The net heating energy demand for domestic hot water shall be calculated in accordance with section 12.
88_Finnish_EnergyEfficiency | Others | Section 16 Taking heat loss into account in calculations of E-value.
89_Finnish_EnergyEfficiency | Others | When calculating the E-value, the heat loss from the building envelope shall be calculated on the basis of the internal dimensions of the building envelope.
90_Finnish_EnergyEfficiency | Others | Any thermal bridges of structures and their connections shall be taken into account in the calculations.
91_Finnish_EnergyEfficiency | Self-contained | The impact of the ground and crawl space on heat loss shall be taken into account in heat loss calculations.
92_Finnish_EnergyEfficiency | Others | Section 17 Taking leakage air flow into account in calculations of E-value.
93_Finnish_EnergyEfficiency | Others | When calculating the E-value, the design value shall be used as the air leakage rate figure for the building envelope if air-tightness is proven by an industrial building construction quality assurance procedure or will be proven by measurements.
94_Finnish_EnergyEfficiency | Others | In other cases, the value of 4 m3/(h m2) shall be used as the air leakage rate figure for the building envelope.
95_Finnish_EnergyEfficiency | Others | Leakage air flow qv,leakage air shall be calculated using the formula.
96_Finnish_EnergyEfficiency | Others | qv,vuotoilma is the leakage air flow, m/s.
97_Finnish_EnergyEfficiency | Others | q50 is the air leakage rate figure for the building envelope, m3/(hm2).
98_Finnish_EnergyEfficiency | Others | Avaippa is the area of the building envelope, m2.
99_Finnish_EnergyEfficiency | Others | x is a factor which for singlestorey buildings is 35, for twostorey buildings is 24, for three and fourstorey buildings is 20 and for buildings taller than these is 15.
100_Finnish_EnergyEfficiency | Others | 3600 is a factor converting the air flow from m3/h to m3/s.
101_Finnish_EnergyEfficiency | Self-contained | If the building is connected to a heating system where heat is conveyed via heat pipes external to the building from a shared heat exchanger or heat generation unit to several buildings, the heat loss from those pipes shall be divided between the buildings in proportion to their areas.
102_Finnish_EnergyEfficiency | Others | The indoor temperature used for wet spaces shall be 22 C. The share of the electric underfloor heating of the wet spaces of the net heating energy demand of the spaces of a dwelling unit is, however, at most a share calculated on the basis of the installed output of the electric underfloor heating presented in the design plan and using an operating time of 8,760 hours.
103_Finnish_EnergyEfficiency | Self-contained | If the circulation piping is located inside the building envelopes insulation, 25 of the calculated domestic hot water circulation heat loss shall be added to the thermal load of the spaces of the building.
104_Finnish_EnergyEfficiency | Self-contained | If the circulation piping is located inside the building envelope, 50 of the calculated domestic hot water circulation heat loss shall be added to the thermal load of the spaces of the building.
105_Finnish_EnergyEfficiency | Self-contained | If the domestic hot water cylinder is located inside the building envelope, 50 of the calculated domestic hot water cylinder heat loss shall be added to the thermal load of the spaces of the building.
106_Finnish_EnergyEfficiency | Others | Supplementary heating energy resulting from any temperature restrictions and partload sizing shall be included in the heating systems energy consumption in the calculations.
107_Finnish_EnergyEfficiency | Others | Section 20 Ventilation systems.
108_Finnish_EnergyEfficiency | Others | The air flows and operating times of a buildings ventilation system shall be calculated in accordance with sections 10 and 11.
109_Finnish_EnergyEfficiency | Self-contained | The electrical energy consumption of a mechanical ventilation system shall be calculated on the basis of air flows, specific fan powers and operating times for all air handling units and powered roof ventilators in the building.
110_Finnish_EnergyEfficiency | Others | Section 21 Cooling systems.
111_Finnish_EnergyEfficiency | Self-contained | When calculating the energy consumption of a buildings cooling system, the energy consumption of cooling energy production and the electrical energy consumption of auxiliary units shall be taken into account where the use of the systems is required for indoor temperature control.
112_Finnish_EnergyEfficiency | Others | Section 22 Electricity use for lighting and consumer equipment.
113_Finnish_EnergyEfficiency | Others | The annual consumption of electrical energy for lighting and consumer equipment used in the building shall be calculated in accordance with section 11 on the basis of the thermal load of these.
114_Finnish_EnergyEfficiency | Others | The electrical energy consumption of lighting and consumer equipment equals the thermal load of these.
115_Finnish_EnergyEfficiency | Others | A building's heat loss may at most equal the reference heat loss determined for the building on the basis of reference values.
116_Finnish_EnergyEfficiency | Others | As regards building heat loss, only the requirements set for heat loss from the building envelope apply to a detached or semi-detached house designed for use as a holiday dwelling for at least four months per year.
117_Finnish_EnergyEfficiency | Others | Section 24 Building envelope heat loss.
118_Finnish_EnergyEfficiency | Others | Heat loss from the building envelope shall be calculated on the basis of the areas and thermal transmittance coefficients of the various building elements using the following formula.
119_Finnish_EnergyEfficiency | Others | Hjoht is the heat loss from the building envelope, W/K.
120_Finnish_EnergyEfficiency | Others | U is the thermal transmittance coefficient for the building element, W/(mK).
121_Finnish_EnergyEfficiency | Others | A is the area of the building element, m. The reference value for the building envelope heat loss for a warm space or a cooled cold space shall be calculated using the following reference values as the thermal transmittance coefficients for the building elements.
122_Finnish_EnergyEfficiency | Others | The reference value for the building envelope heat loss for a portable building and a semiwarm space shall be calculated using the following reference values as the thermal transmittance coefficients for the building elements.
123_Finnish_EnergyEfficiency | Others | For a detached or semidetached house designed for use as a holiday dwelling for at least four months per year, the reference value for building envelope heat loss shall be calculated by using the following reference values as the thermal transmittance coefficients of the building elements.
124_Finnish_EnergyEfficiency | Self-contained | The reference value for a building's total combined window area is 15 of the sum total of the floor plate areas of the buildings storeys that are fully or in part above the ground but, however, at most 50 of the building's facade area.
125_Finnish_EnergyEfficiency | Others | The area of a window shall be calculated on the basis of the measurements of the external perimeter of the window.
126_Finnish_EnergyEfficiency | Others | The size or geometry data of the designed building shall be used for the calculations.
127_Finnish_EnergyEfficiency | Others | The areas of the various building elements of the building envelope shall be determined on the basis of the buildings total internal dimensions.
128_Finnish_EnergyEfficiency | Others | The designed building element-specific thermal transmittance coefficients and window areas shall be used in the calculation of heat loss from the envelope for the building design solution.
129_Finnish_EnergyEfficiency | Others | Section 25 Calculating heat loss from leakage air of buildings.
130_Finnish_EnergyEfficiency | Others | The leakage air heat loss from a building shall be calculated using the following formula.
131_Finnish_EnergyEfficiency | Others | Hvuotoilma is the leakage air heat loss, W/K.
132_Finnish_EnergyEfficiency | Others | i is the density of air, 1.2 kg/m.
133_Finnish_EnergyEfficiency | Others | cpa is the specific heat capacity of air, 1,000 Ws/(kg K).
134_Finnish_EnergyEfficiency | Others | qv,vuotoilma is the leakage air flow, m/s.
135_Finnish_EnergyEfficiency | Others | The leakage air flow qv,vuotoilma shall be determined in accordance with section 17.
136_Finnish_EnergyEfficiency | Self-contained | When calculating the reference heat loss of a building, the value of 2.0 m3/(h m2) shall be used as the reference value for the air leakage rate figure for the building envelope.
137_Finnish_EnergyEfficiency | Self-contained | When calculating the heat loss for a buildings design solution, the design value shall be used as the value of the air leakage rate figure for the building envelope.
138_Finnish_EnergyEfficiency | Others | If the achievement of the design value for air-tightness is not proven with measurements or by an industrial building construction quality assurance procedure, the value used as the air leakage rate figure shall be 4.0 m3/(h m2).
139_Finnish_EnergyEfficiency | Others | Section 26 Calculating heat loss from building ventilation.
140_Finnish_EnergyEfficiency | Others | The leakage air heat loss from the ventilation of a building shall be calculated using the following formula.
141_Finnish_EnergyEfficiency | Others | Hiv is the specific heat loss from ventilation, W/K.
142_Finnish_EnergyEfficiency | Others | i is the density of air, 1.2 kg/m.
143_Finnish_EnergyEfficiency | Others | cpi is the specific heat capacity of air, 1,000 Ws/(kg K).
144_Finnish_EnergyEfficiency | Others | qv,poisto is the calculated extract air flow in accordance with standardised use, m/s.
145_Finnish_EnergyEfficiency | Others | td is the ventilation systems mean daily operating time ratio, h/24 h.tw is the ventilation systems weekly operating time ratio, 24 h/7 days.
146_Finnish_EnergyEfficiency | Others | a is the annual efficiency of heat recovery from ventilation extract air.
147_Finnish_EnergyEfficiency | Others | The same air flow values and operating times shall be used for the calculations of the reference heat loss from ventilation and the design solutions heat loss from ventilation.
148_Finnish_EnergyEfficiency | Others | The ventilation air flow shall be calculated in accordance with section 10.
149_Finnish_EnergyEfficiency | Others | The ventilation operating time shall be calculated by adding one hour before and one hour after the buildings occupancy period in accordance with section 11.
150_Finnish_EnergyEfficiency | Others | For buildings of intended use category 9, the buildings design values shall be used as air flows and ventilation operating time.
151_Finnish_EnergyEfficiency | Self-contained | In reference heat loss calculations, the value used as the annual efficiency of heat recovery from ventilation extract air of the buildings ventilation system shall be 55.
152_Finnish_EnergyEfficiency | Others | If mechanical ventilation is used, the annual efficiency of the extract air heat recovery of the air handling unit shall be determined by using the heat recovery equipments properties and the design air flows of the air handling unit as well as weather data for climatic zone I provided in Annex 1.
153_Finnish_EnergyEfficiency | Others | The annual efficiency of the extract air heat recovery of two or more air handling units shall be determined as the weighted annual efficiency of the design air flows and operating times.
154_Finnish_EnergyEfficiency | Others | The heat loss from ventilation for the buildings design solution shall be calculated by using the annual efficiency of the extract air heat recovery determined in this manner and the air flow values and operating times in accordance with subsection 3.
155_Finnish_EnergyEfficiency | Others | The air leakage rate figure may exceed the value of 4.0 m3/(h m2) if so required by structural solutions needed for the use of the building.
156_Finnish_EnergyEfficiency | Others | Section 28 Ground frost insulation, thermal insulation of foundation walls and insulation between certain spaces.
157_Finnish_EnergyEfficiency | Self-contained | To prevent ground frost damage, ground frost insulation and any thermal insulation of foundation walls not included in the building envelope shall be taken into account in the design of thermal insulation for a buildings base floor.
158_Finnish_EnergyEfficiency | Others | Section 29 Calculated room temperature for the summer season.
159_Finnish_EnergyEfficiency | Others | The calculated room temperature for the summer season may not exceed the cooling limit value of 27 C for intended use category 2 and the cooling limit value of 25 C for intended use categories 38 by more than 150 degree hours between 1 June and 31 August while using air flows in accordance with the design solution.
160_Finnish_EnergyEfficiency | Others | Conformity of the room temperature for the summer season shall be verified by temperature calculations for the various space types.
161_Finnish_EnergyEfficiency | Others | With the exception of air flow, the initial data used in the calculations shall be in accordance with the calculation of the E-value.
162_Finnish_EnergyEfficiency | Self-contained | A dynamic calculation tool shall be used for the calculation of the room temperature for the summer season.
163_Finnish_EnergyEfficiency | Others | The specific fan power of a ventilation system may exceed the above values if so required by the indoor climate in accordance with the buildings intended use.
164_Finnish_EnergyEfficiency | Others | Section 31 Energy consumption measurement in buildings.
165_Finnish_EnergyEfficiency | Others | A building shall have measuring instruments and measurement readiness enabling the measurement of energy consumption so that the buildings energy consumption can be monitored as regards the most important consumption points and as regards the buildings total consumption or such a monitoring opportunity shall be easy to put in place.
166_Finnish_EnergyEfficiency | Others | Section 32 Heating capacity and electrical power demand of buildings.
167_Finnish_EnergyEfficiency | Others | The heating capacity of a buildings heating system shall be designed so that the designed temperature conditions and ventilation of the spaces can be maintained at the design outdoor temperatures of the climatic zone in accordance with the location of the building presented in Annex 1.
168_Finnish_EnergyEfficiency | Others | In design, opportunities to reduce the need for peak power and to improve the controllability of electric power consumption shall be taken into account.
169_Finnish_EnergyEfficiency | Others | A building of intended use category 1 or 2 meets the requirements set for energy performance if: 1) the buildings heat loss is at most equal to the reference heat loss determined for the building on the basis of the structural energy efficiency reference values calculated correspondingly to what is set out in sections 24, 25 and 26.
170_Finnish_EnergyEfficiency | Others | The reference values for building element thermal transmittance coefficients, air leakage rate and annual efficiency of ventilation extract air heat recovery are.
171_Finnish_EnergyEfficiency | Others | Section 34 Energy declarations.
172_Finnish_EnergyEfficiency | Self-contained | An energy declaration shall be drawn up when designing a building.
173_Finnish_EnergyEfficiency | Others | The energy declaration shall be updated before the commissioning of the building if changes have taken place in designs used as a basis for the permitstage energy declaration.
174_Finnish_EnergyEfficiency | Others | The person responsible for the construction stage shall make an entry in the building inspection documents concerning compliance of construction work with the information presented in the energy declaration.
175_Finnish_EnergyEfficiency | Others | Chapter 5 Transitional provisions and entry into force.
176_Finnish_EnergyEfficiency | Others | Section 35 Entry into force.
177_Finnish_EnergyEfficiency | Others | This Decree enters into force on 1 January 2018.
178_Finnish_EnergyEfficiency | Others | Upon the entry into force of this Decree, pending projects shall be subject to the rules valid at the time of entry into force of this Decree.